## Sheet1
| Finalized | Plugin | description | description Enrico | filename | parameters in | parameters out | REFERENCE
Single-molecule localization
Image loaders
1 |  | TifLoader | loads tiff stacks (single file or direcotry with single images), also during acquisition for online fitting | Plugin to load Tif data (single images or stack). If the source is a micro-manager Tif file, it locates the path of the metadata.txt file and passes it on to the CameraConverter. | Loader_tif |  |  | Rieslab
2 |  | GrabFijiStacks | Performs fitting on image stacks loaded in ImageJ/Fiji
3 |  | CameraConverter | Interprets metadata and converts camera ADUs into photons
Filters
4 |  | BG_wavelet | background estimation with a wavelet filter
5 |  | MedianBGcalculator | background estimation with a median filter |  | U. Köthe, F. Herrmannsdörfer, I. Kats, and F. A. Hamprecht, “SimpleSTORM: a fast, self-calibrating reconstruction algorithm for localization microscopy,” HISTOCHEMISTRY AND CELL BIOLOGY, pp. 1–15, Apr. 2014.
6 |  | ImageNormalize | transforms photon into a probability map that pixel is larger than random noise |  | U. Köthe, F. Herrmannsdörfer, I. Kats, and F. A. Hamprecht, “SimpleSTORM: a fast, self-calibrating reconstruction algorithm for localization microscopy,” HISTOCHEMISTRY AND CELL BIOLOGY, pp. 1–15, Apr. 2014.
7 |  | fitOnBackground | lets the user choose if to perform the fitting on raw images or background-corrected images
8 |  | ImageFilter | Gaussian filter
Peak Finding
9 |  | PeakFinder | Peak finder based on maximum detection
10 |  | PeakFinderNMSWF | Peak finder based on non-maximum suppression | [1] | S. Wolter, M. Schüttpelz, M. Tscherepanow, S. van de Linde, M. Heilemann, and M. Sauer, “Real-time computation of subdiffraction-resolution fluorescence images.,” J Microsc, vol. 237, no. 1, pp. 12–22, Jan. 2010.
|  |  |  | [1] | A. Neubeck and L. Van Gool, “Efficient non-maximum suppression,” presented at the 18th International Conference on Pattern Recognition, Vol 3, Proceedings, 10662 LOS VAQUEROS CIRCLE, PO BOX 3014, LOS ALAMITOS, CA 90720-1264 USA, 2006, pp. 850–855.
11 |  | RoiAdder | Define ROIs which to include or exclude from fitting
12 |  | RoiCutterWF | Cuts out regions of interest around peak candidate positions
Fitters
13 |  | fitterGUI | lets the user select one of many fitters
14 |  | EMCCD_SE_MLE_GPU | GPU-based fitter for 2D and 3D data sets | [1] | C. S. Smith, N. Joseph, B. Rieger, and K. A. Lidke, “Fast, single-molecule localization that achieves theoretically minimum uncertainty.,” Nat Methods, vol. 7, no. 5, pp. 373–375, May 2010.
15 |  | FalconHD2D | High-density fitter Falcon | [1] | J. Min, C. Vonesch, H. Kirshner, L. Carlini, N. Olivier, S. Holden, S. Manley, J. C. Ye, and M. Unser, “FALCON: fast and unbiased reconstruction of high-density super-resolution microscopy data.,” Sci. Rep., vol. 4, p. 4577, 2014.
16 |  | RadialSymmetry2D | fast CPU fitter based on radial symmetry | [1] | R. Parthasarathy, “Rapid, accurate particle tracking by calculation of radial symmetry centers,” Nat Methods, Jun. 2012.
17 |  | RadialSymmetry3D | fast CPU fitter based on radial symmetry for 3D data (astigmatism) | [1] | H. Ma, J. Xu, J. Jin, Y. Gao, L. Lan, and Y. Liu, “Fast and Precise 3D Fluorophore Localization based on Gradient Fitting.,” Sci. Rep., vol. 5, p. 14335, 2015.
Localization Processors
18 |  | LocFilter | Filters out localizations based on photons, localization precision or fitted PSF size
19 |  | LocSaver | saves fitted localizations including metadata and fitting parameters
20 |  | OnlineReconstruction | Renders the images during fitting
21 |  | PlotLocsPreview | Plots localizations of a single frame for optimization of fitting parameters
|  | Intensity extraction | Methods to estimate single-molecule intensities from images
22 |  | pushLocs | Inserts single-molecule localizations into workflow pipeline
23 |  | IntLoc2Pos | calculates pixel postions in tiff images from localization positions (nm)
24 |  | EvaluateIntensity | Estimates intensities based on sum of different sized ROIs or least-squares fitting
BatchProcessing
25 |  | SaveBatchFile | Saves fitting parameters for batch processing
26 |  | Batchprocessor | Batch fitting of batchfiles, directories or image stacks
Other
display chooser
workflow starter
Load/Save localization data
Load
|  | Loader_auto | selects the correct loader based on filename and content
|  | Loader_csv | loades localzations from CSV file
|  | Loader_settings | loads SMAP settings
|  | Loader_sml | Loads SMAP localization data
|  | Loader_sml_Tiff | loads SMAP localiaztion data including single diffraction limited tiff images, transforms images and performs wavelet filtering on those images
|  | Loader_tif | loads diffrction-limited tiff images
|  | Loader_workflow | Loads SMAP workflows
Save
|  | Saver_csv | saves localizations in CSV format
|  | saver_settings | saves SMAP settings
|  | SMLMsaver | saves localizations in SMAP Matlab format
|  | TifSaver | Saves reconstructed images in tiff format
|  | PushToFiji | Opens reconstructed images directly in ImageJ/Fiji
Processors
Registration of data sets
|  | Register Locs | calculates transformation (global or local) based on localizations (e.g. multi-color beads or fluorophores in ratiometric imaging)
|  | RegisterImages | Calculates shift between reconstructed images or Tiff images based on Cross-correlation
|  | ApplyTransform | Applies transformation to localizations or Tiff images
Drift Correction
|  | Driftcorrection | Performs cross-correlation based drift correction. Fidutiary markers can be used but are not necessary | [1] | I. Schoen, J. Ries, E. Klotzsch, H. Ewers, and V. Vogel, “Binding-activated localization microscopy of DNA structures.,” Nano Lett, vol. 11, no. 9, pp. 4008–4011, Sep. 2011.
|  | Showdriftinfo | Shows caluclated drit and information to judge residual position uncertainty
Grouping
|  | Grouper | combines localizations which persit over several frames into single localization
Assign channels in dual-color measurements
|  | Get2CIntImages | Quantifies intensities in the camera images at the position of fluorophores and at transformed positions in the other channel |  | modified from | D. Baddeley, D. Crossman, S. Rossberger, J. E. Cheyne, J. M. Montgomery, I. D. Jayasinghe, C. Cremer, M. B. Cannell, and C. Soeller, “4D Super-Resolution Microscopy with Conventional Fluorophores and Single Wavelength Excitation in Optically Thick Cells and Tissues.,” PLoS ONE, vol. 6, no. 5, p. e20645, 2011.
|  | Get2CIntLocs | Associates localizations in two camera channels and assigns intensites in each channel
|  | Intensity2channel | Assigns identity (color) to localizations based on intensities in both camerachannels | modified from | I. Testa, C. A. Wurm, R. Medda, E. Rothermel, C. von Middendorf, J. Fölling, S. Jakobs, A. Schönle, S. W. Hell, and C. Eggeling, “Multicolor fluorescence nanoscopy in fixed and living cells by exciting conventional fluorophores with a single wavelength.,” Biophys J, vol. 99, no. 8, pp. 2686–2694, Oct. 2010.
|  | SALMint2z | Calculates z positions from relative intensities in Supercritical-angle localization microscopy | [1] | J. Deschamps, M. Mund, and J. Ries, “3D superresolution microscopy by supercritical angle detection.,” Opt Express, vol. 22, no. 23, pp. 29081–29091, Nov. 2014.
Image processing in SMAP
|  | Tiff_remove_BG | wavelt-based background removel for diffraction limited images
|  | Modify | modifies localizaiton data
|  | Connect2Unconnect | Treats grouped data as ungrouped data
|  | Mathematics | Simple mathematics on localization fields
|  | MathParser | Complex mathematics on localization fields. Equations using matlab functions are parsed
|  | Mirror | Mirrors localizations
|  | RemoveLocs | remove localizations in a ROI
|  | RenameFields | renames localization fields
|  | Undo | backs up localization data before executing plugin, restores it
|  | AutoSave | saves localization data and SMAP settings in user-defined invervals
Renderers
|  | Gauss renderer | Renders each localization as a Gaussian with a sigma proportional to the localization precision
|  | Hist render | Renders superresolution image by counting the number of localizations in each pixel
|  | Voronoi | Voronoi-tesselation based image reconstruction | modified from | L. Andronov, Y. Lutz, J.-L. Vonesch, and B. P. Klaholz, “SharpViSu: integrated analysis and segmentation of super-resolution microscopy data,” Bioinformatics, p. btw123, Mar. 2016.
|  | Diffraction-limited | Rendering of diffraction-limited images: Renders each localization with a Gaussian corresponding to the size of the PSF on a grid with pixel sizes corresponding to the camera pixel size.
|  | Tiff renderer | Displays Tiff images together with localizations
Reconstruction
|  | Localization Filter | Filter on any field
|  | Histogram filter | Show histogram of values of localization field and use sliders to adjust filter range
|  | Overview image | render overview image, click in overview image centers superresolution image on that spot
|  | Roi in SR image | define ROI (point, linear, elliptical, rectengular, polynomial or free hand). Used in numerous plugins
Analyzers
Measure
| 1 | Locstatistics | Calculates extensive statistics on localization data
| 1 | StatisticsVsTime | Plots the statistics from above vs. Frame or File
| 1 | lineprofile | calculates 2D and 3D line profiles and fits them with a model
| 1 | FRCresolution | calculates the resolution based on fourier ring correlation | [1] | R. P. J. Nieuwenhuizen, K. A. Lidke, M. Bates, D. L. Puig, D. Grünwald, S. Stallinga, and B. Rieger, “Measuring image resolution in optical nanoscopy,” Nat Methods, vol. 10, no. 6, pp. 557–562, Apr. 2013.
| 1 | PSFanalysis | Analyzes the point-spread function from a z-stack
Cluster
| 1 | DBSCAN | DBSCAN clustering | optimized from | [1] | F. A. Caetano, B. S. Dirk, J. H. K. Tam, P. C. Cavanagh, M. Goiko, S. S. G. Ferguson, S. H. Pasternak, J. D. Dikeakos, J. R. de Bruyn, and B. Heit, “MIiSR: Molecular Interactions in Super-Resolution Imaging Enables the Analysis of Protein Interactions, Dynamics and Formation of Multi-protein Structures.,” PLoS Comput. Biol., vol. 11, no. 12, p. e1004634, Dec. 2015.
| 1 | ClusterVoronoi | Voronoi-tesselation based density calculation | [1] | L. Andronov, Y. Lutz, J.-L. Vonesch, and B. P. Klaholz, “SharpViSu: integrated analysis and segmentation of super-resolution microscopy data,” Bioinformatics, p. btw123, Mar. 2016.
| 1 | density_calculator | calculates densities based on neighbours in defined range
| 1 | ShuffelClusterIndex | Shuffels the index of a cluster. When cluster index is used to assign the color during reconstruction, this allows simple visualization of clustering
Counting of molecules
|  | csegmentcluster | Watershed-based segmentation of clusters
|  | cmakehist | make histogram of localizations/cluster
|  | cloadhist | loads histogram of localizations/cluster
|  | locsfromSE | makes histogram of localizations/cluster from segmented clusters in the ROI manager
|  | cfithist | fits histogram of localizaitons/cluster with an analytical model to determine number of proteins, maturation efficiency, number of re-activations
3D
|  | Biplane_getPSFxy | associates size of the PSF in two channels to the localizations in both channels
|  | calibrateAstig | evaluates stacks of astigmatic bead images to acquire calibration functions for 3D fitting or 3D assignment
|  | calibrateAstigDeep | depth-dependent 3D calibration on beads embedded in agarose gel
|  | CheckCalibration | Plots real position of beady vs fitted position of beads to validate calibration
|  | gradientEllipticity3D | calculates z from ellipticity (from 3D gradient fit)
|  | SxSy2z | calculates z from size of PSF in x or y / channel 1 /2. For biplane and astigmatic 3D
|  | Viewer3D | interactive 3D viewer including stereoscopic rendering
|  | sideview | reconstructs orthogonal view
|  | volume3D | renders 3D volume for Imagej/Fiji with 3D Gaussians proportional to localization precision in x/y and z
|  | VISPexport | exports localizations in a format compatible with VISP | Exporter for: | M. El Beheiry and M. Dahan, “ViSP: representing single-particle localizations in three dimensions,” Nat Methods, vol. 10, no. 8, pp. 689–690, Aug. 2013.
Other
|  | BlinkingMoviePresentation | renders a movie of a ROI with raw camera images on the left and localizations building up a SR image on the right.
|  | CompareToGroundTruth | compares data of simulated images to ground truth | [1] | D. Sage, H. Kirshner, T. Pengo, N. Stuurman, J. Min, S. Manley, and M. Unser, “Quantitative evaluation of software packages for single-molecule localization microscopy,” Nat Methods, vol. 12, no. 8, pp. 717–724, Aug. 2015.
|  | ShowHistory | Displays parameters of all plugins which were used previously to procss localization data
|  | VersatileRenderer | Render any field vs any other using any 3rd field for coloring
|  | Movie Running Window | reconstruct a movie with running average from live-cell data
Roi manager
|  | Sort ROIs | according to any parameter
|  | Annotate ROIs | user-defined lists, comments, line-ROIs
|  | Rotate ROIs | Using line-ROIs
Evaluators
|  | general statistics | number of localizations, average PSF size...
|  | intensity Tiff | intensity of a diffraction limited reference image
|  | counting statistics | calcuculate number of localizations with different dark times. Used for locsfrom SE
Analyzers
|  | export_tiffs | export superresolution reconstructions of selected ROIs
Segmenters
|  | Segement NPC | segmenter for nuclear pore complexes
|  | SegmentCME | Segment endocytic sites
|  | Segment Cells | segment yeast cells
|  | Calibrate cameras | Micromanger script to determine gain an offset
Templates
|  | Plugin_Template | template for plugin which acts on localizations
|  | Workflow_Template | template for workflow plugin, often used for fitting pipeline